{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["第一批"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"第一批","index":0,"n_rows":34,"n_cols":5,"rows_kept":34,"merged":[[0,0,0,4],[5,1,12,1],[13,1,14,1],[15,1,18,1],[19,1,21,1],[22,1,24,1],[27,1,29,1],[31,1,33,1]],"flags":["formulas_cached_only"]}
["2011年第一批检测机构资质审查意见表"]
[]
["序号","属地","申办单位名称","申请内容","专家审查意见"]
[1,"省直","湖北省路桥集团瑞达建设工程质量检测有限公司","见证取样（逾期重新申请）","符合要求"]
[2,null,"武汉英捷建设工程检测有限责任公司","见证取样（逾期重新申请）","符合要求"]
[3,"武汉","湖北精正建筑技术检测有限公司","地基基础（逾期重新申请）","符合要求"]
[4,null,"武汉恒浚混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[5,null,"武汉海剑工贸有限责任公司东西湖实验室","商品砼实验室（新申请）","符合要求"]
[6,null,"湖北博磊商品砼有限公司洪山站实验室","商品砼实验室（新申请）","质量负责人岗位证书待核"]
[7,null,"湖北筑兴混凝土制品有限公司","商品砼实验室（新申请）","符合要求"]
[8,null,"武汉双琦实业发展有限公司实验室","商品砼实验室（新申请）","符合要求"]
[9,null,"武汉亿新成混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[10,null,"武汉惠涛商品混凝土有限责任公司实验室","商品砼实验室（延期）","符合要求"]
[11,"宜昌","湖北葛科工程试验检测有限公司","见证取样（逾期重新申请）","符合要求"]
[12,null,"宜昌华正建设工程质量检测有限责任公司","见证取样（延期）","符合要求"]
[13,"荆州","公安县恒兴建设工程质量检测有限公司","主体结构、地基基础（增项）","符合要求"]
[14,null,"洪湖市现代基业商品砼有限公司实验室","商品砼实验室（新申请）","符合要求"]
[15,null,"监利五洲商品混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[16,null,"华新混凝土（武汉）有限公司石首站实验室","商品砼实验室（新申请）","符合要求"]
[17,"鄂州","鄂州市衡信建设工程质量检验测试中心","见证取样、主体结构、地基基础、设备安装/（延期）、建筑节能（增项）","地基基础、主体结构不符合资质标准要求，结构师、岩土师未到位"]
[18,null,"湖北富思特建设工程质量检测有限公司","主体结构、钢结构（增项）","符合要求"]
[19,null,"鄂州市玖鑫商砼有限公司实验室","商品砼实验室（新申请）","三人岗位证书待核实"]
[20,"咸宁","通山县金辉建设工程质量检测有限责任公司","见证取样、主体结构、础、设备安装（逾期重新申报）","主体结构不符合要求，结构师未到位"]
[21,null,"咸宁恒基商品混凝土有限公司通山分公司实验室","商品砼实验室（新申请）","符合要求"]
[22,null,"咸宁市成美建材有限公司实验室","商品砼实验室（新申请）","符合要求"]
[23,"襄樊","襄樊固特基管桩有限公司实验室","商品砼实验室（逾期重新申请）","符合要求"]
[24,"仙桃","仙桃市建设工程质量检测中心","主体结构（增项）","符合要求"]
[25,"十堰市","竹溪县建设工程质量检测中心","主体结构（增项）","符合要求"]
[26,null,"丹江口市建设工程质量检测中心","主体结构（增项）","符合要求"]
[27,null,"郧西县建设工程质量检测中心","主体结构（增项）","符合要求"]
[28,"恩施","恩施市磐龙建材有限责任公司实验室","商品砼实验室（新申请）","符合要求"]
[29,"黄冈","黄冈市精正建筑工程质量检测有限公司","见证取样、主体结构、地基基础、设备安装、建筑节能（延期）","地基基础、主体结构不符合资质标准要求，结构师、岩土师未到位，营业执照经营范围未覆盖“建筑节能”项目"]
[30,null,"武穴市紫光建筑工程质量检测中心","见证取样、主体结构、地基基础、设备安装（延期）","地基基础、主体结构不符合资质标准要求，结构师、岩土师未到位"]
[31,null,"麻城市方圆建设工程质量检测中心","地基基础（增项）","符合要求"]