{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"images":1,"external_links":1,"defined_names":1,"comments":36},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":58,"n_cols":15,"rows_kept":58,"merged":[[0,0,1,3],[0,4,0,8],[0,9,0,10],[0,11,0,13],[1,4,1,8],[1,9,1,10],[1,11,1,12],[1,13,1,14],[2,0,2,3],[2,4,2,8],[2,9,2,10],[2,11,2,14],[3,0,9,0],[3,1,9,1],[3,2,4,2],[3,3,4,8],[3,9,4,13],[5,3,5,8],[5,9,5,13],[6,3,6,8],[6,9,6,13],[7,3,7,8],[7,9,7,13],[8,3,8,8],[8,9,8,13],[9,3,9,8],[9,9,9,13],[10,0,21,0],[10,1,21,1],[10,3,10,4],[10,5,10,8],[10,9,10,11],[10,12,10,13],[11,3,11,8],[11,9,11,13],[12,3,12,8],[12,9,12,13],[13,3,13,8],[13,9,13,13],[14,3,14,8],[14,9,14,13],[15,3,15,8],[15,9,15,13],[16,3,16,7],[16,9,16,11],[16,12,16,13],[17,3,17,7],[17,9,17,11],[17,12,17,13],[18,3,18,8],[18,9,18,13],[19,3,19,8],[19,9,19,13],[20,3,20,8],[20,9,20,13],[21,3,21,8],[21,9,21,13],[22,0,42,0],[22,1,42,1],[22,3,22,8],[22,9,22,13],[23,3,23,8],[23,9,23,13],[24,3,24,8],[24,9,24,13],[25,3,25,8],[25,9,25,13],[26,3,26,8],[26,9,26,13],[27,3,27,8],[27,9,27,13],[28,3,28,8],[28,9,28,13],[29,3,29,8],[29,9,29,13],[30,3,30,8],[30,9,30,13],[31,3,31,8],[31,9,31,13],[32,3,32,8],[32,9,32,13],[33,3,33,8],[33,9,33,13],[34,3,34,8],[34,9,34,13],[35,3,35,8],[35,9,35,13],[36,3,36,8],[36,9,36,13],[37,3,37,8],[37,9,37,13],[38,3,38,8],[38,9,38,13],[39,3,39,8],[39,9,39,13],[40,3,40,8],[40,9,40,13],[41,3,41,8],[41,9,41,13],[42,3,42,8],[42,9,42,13],[43,0,49,0],[43,1,49,1],[43,3,43,8],[43,9,43,13],[44,3,44,8],[44,9,44,13],[45,3,45,8],[45,9,45,13],[46,3,46,8],[46,9,46,13],[47,3,47,8],[47,9,47,13],[48,3,48,8],[48,9,48,13],[49,3,49,8],[49,9,49,13],[50,0,53,0],[50,1,53,1],[50,3,50,8],[50,9,50,13],[51,3,51,8],[51,9,51,13],[52,3,52,8],[52,9,52,13],[53,3,53,8],[53,9,53,13],[54,0,54,14],[55,0,56,14],[57,0,57,4],[57,5,57,8],[57,9,57,11],[57,12,57,14]],"flags":["formulas_cached_only"]}
[" ",{"$nulls":3},"仪表规格书（地秤）",{"$nulls":4},"档案号PROJECT No："]
[{"$nulls":4},"INSTRUMENT SPECIFICATION",{"$nulls":4},"设计阶段 STAGE：",{"$nulls":3},"版本  FA"]
[{"$nulls":4},"(PLATFORM SCALE)",{"$nulls":4},"页数PAGE："]
["概况","General",1,"仪表名称  Instrument Name",{"$nulls":10},"REV"]
[]
[null,null,2,"位号 Tag Number"]
[null,null,3,"检测位置 Service"]
[null,null,4,"P&ID  No."]
[null,null,5]
[null,null,6]
["工艺条件","Process Conditions",7,"介质名称 Fluid Name",null,"状态  State"]
[null,null,8,"介质比重  Fluid"]
[null,null,9,"介质堆积比重 Fluid Bulk Gr."]
[null,null,10,"贮槽容积 Tank Capacity"]
[null,null,11,"贮槽重量 Tank Weight"]
[null,null,12,"物料最大重量 Content Max. Weight"]
[null,null,13,"环境温度  Ambient Temp: 最小 Min",{"$nulls":4},"最大 Max."]
[null,null,14,"环境湿度  Ambient Humi: 最小 Min",{"$nulls":4},"最大 Max."]
[null,null,15]
[null,null,16]
[null,null,17]
[null,null,18]
["磅秤","Scale Unit",19,"型号  Model"]
[null,null,20,"磅秤型式及尺寸 Plateorm Type & Size"]
[null,null,21,"测量范围 Meas. Range"]
[null,null,22,"指示表盘型式及尺寸 Dial. Type & Size"]
[null,null,23,"刻度  Scale"]
[null,null,24,"分度值 Graduation"]
[null,null,25,"油阻尼装置 Oil Damper"]
[null,null,26,"锁定装置 Locking Device"]
[null,null,27,"皮重扣除装置 Tare Adjusting Device"]
[null,null,28,"安装支架  Mounting Bracket"]
[null,null,29,"防护等级  Exclosure Protection"]
[null,null,30]
[null,null,31]
[null,null,32]
[null,null,33]
[null,null,34]
[null,null,35]
[null,null,36]
[null,null,37]
[null,null,38]
[null,null,39]
["附件","Accessories",40,"机壳盖板 Housing Couer"]
[null,null,41,"地脚螺栓及螺母 Anchor Bolts & Nuts"]
[null,null,42]
[null,null,43]
[null,null,44]
[null,null,45]
[null,null,46]
["其他","Miscell",47,"制造商 Manufacturer"]
[null,null,48]
[null,null,49]
[null,null,50]
["说明 NOTES："]
[]
[]
["设计",{"$nulls":4},"校对",{"$nulls":3},"审核",null,null,"日期"]