{"text_format":"3","workbook":"xls","n_sheets":16,"sheets":["Sheet1","Sheet2","Sheet3","Sheet4","Sheet5","Sheet6","Sheet7","Sheet8","Sheet9","Sheet10","Sheet11","Sheet12","Sheet13","Sheet14","Sheet15","Sheet16"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":58,"n_cols":6,"rows_kept":58,"flags":["formulas_cached_only"]}
["序号","名称","单位","数量","进场时间","备注"]
["一、给排水部分"]
[1,"50T玻璃钢水箱","只",null,"98.11.10"]
[2,"多级离心水泵","台",null,"98.11.10"]
[3,"潜水泵","台",null,"98.11.10"]
["二、消防喷淋系统部分"]
[1,"喷淋喷头","只",null,"98.11.10"]
[2,"双出口消防栓箱","只",null,"98.11.10"]
[3,"报警阀","只",null,"98.11.10"]
[4,"多级离心水泵","台",null,"98.11.10"]
[5,"潜水泵","台",null,"98.11.10"]
["三、电气照明部分"]
[1,"吸顶灯","套",null,"99.01.01"]
[2,"成套型荧光灯","套",null,"99.01.01"]
[3,"应急灯","套",null,"99.01.01"]
[4,"配电箱","只",null,"99.01.01"]
["四、电气动力部分"]
[1,"低压配电柜","只",null,"98.11.10"]
[2,"配电箱","只",null,"98.11.10"]
[3,"10平方以上规格电缆线","米",null,"98.11.10"]
[4,"电缆桥架","米",null,"98.11.10"]
[5,"母线槽","米",null,"98.11.10"]
[6,"母线进线箱","只",null,"98.11.10"]
[7,"母线分线箱","只",null,"98.11.10"]
["五、火灾报警部分"]
[1,"短路隔离器","只",null,"99.01.01"]
[2,"输入模块","只",null,"99.01.01"]
[3,"控制模块","只",null,"99.01.01"]
[4,"双切换盒","只",null,"99.01.01"]
[5,"火灾集中式报警控制器","只",null,"99.01.01"]
[6,"集中供电电源","只",null,"99.01.01"]
[7,"联动控制器","只",null,"99.01.01"]
[8,"接线端子箱","只",null,"99.01.01"]
[9,"重复显示屏","只",null,"99.01.01"]
[10,"烟感探测器","只",null,"99.01.01"]
[11,"温感探测器","只",null,"99.01.01"]
[12,"手动报警按钮","只",null,"99.01.01"]
[13,"警铃","只",null,"99.01.01"]
["六、公用天线部分"]
[1,"同轴电缆","米",null,"98.11.10"]
[2,"前端箱","只",null,"98.11.10"]
[3,"切换箱","只",null,"98.11.10"]
[4,"主放大器","只",null,"98.11.10"]
[5,"四分配器","只",null,"98.11.10"]
[6,"二分支器","只",null,"98.11.10"]
[7,"四分支器","只",null,"98.11.10"]
[8,"六分支器","只",null,"98.11.10"]
["七、对讲电话部分"]
[1,"对讲电话设备","套",null,"99.02.01"]
["八、安保部分"]
[1,"安保设备","套",null,"99.02.01"]
[2,"摄像机","台",null,"99.02.01"]
["九、通风部分"]
[1,"通风机","台",null,"98.11.10"]
["十、其它"]
[1,"电梯","部",null,"99.03.01"]
[2,"卫生洁具、笼头及花洒","套",null,"99.01.01"]
[3,"外墙面砖","套",null,"99.01.10"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet4","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet5","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet6","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet7","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet8","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet9","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet10","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet11","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet12","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet13","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet14","index":13,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet15","index":14,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet16","index":15,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}